## Protocol v3
Protocol version: 3.2
DEVICE >>> HOST
| HEADER INFO |  |  |  |  | 26Bytes
| PACKET TYPE | Protocol Version | Device Id | HW Version | FW Version |  |  | Battery | SIDE | Sample Rate | Sample / Frame | Sample Size | Header Size | Acc Scale | Gyro Scale | IMU Calib | Status
[5 empty] | Major | Minor | Patch
| 1 | 3 |  | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB
| 1Byte | 1Byte | 6Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte
| uint8 | uint8 | uint8[6] | uint8 | uint16 | uint16 | uint16 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8
[9 empty] | SIDE | SAMPLE RATE
|  | 1: Protocol 1 |  | 0: insole_1V0 |  |  |  | 0 … 100% | 0: Left | 0: 25Hz |  |  |  | 0: 2G | 0: 250dps | 0: not calib | 0: Not record
|  | 2: Protocol 2 |  | 1: |  |  |  |  | 1: Right | 1: 50Hz |  |  |  | 1: 4G | 1: 500dps | 1: calibrated | 1: Record
|  | 3: Protocol 3 | [6 empty] | 2: None | 2: 100Hz |  |  |  | 2: 8G | 2: 1000dps
[9 empty] | 3: IMU | 3: 200Hz |  |  |  | 3: 16G | 3: 2000dps
[6 empty] | Frequency | 25/50 Hz | 100Hz | 200Hz
[6 empty] | Samples/Packet | 1 | 2 | 5
| SOLE+IMU+QUAT PACKET |  |  |  |  | 7Bytes + | 48Bytes | 96Bytes | 240Bytes
| Packet Type | Time stamp | Battery | Reserved | Sole Sensor | [7 empty] | IMU Sensor | [9 empty] | QUAT Values (W, X ,Y, Z)
[5 empty] | Hallux | Toes | Met 1 | Met 3 | Met 5 | Arch | Heel L | Heel R | ACC_X | ACC_Y | ACC_Z | GYRO_X | GYRO_Y | GYRO_Z | TEMP | MAG_X | MAG_Y | MAG_Z | Q1 | Q2 | Q3 | Q4
|  | LSB-MSB |  |  | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB
| 7Bytes |  |  |  | 16Bytes | [7 empty] | 20Bytes | [9 empty] | 12Bytes
| 1Byte | 4Bytes | 1Byte | 1Byte | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 3Bytes | 3Bytes | 3Bytes | 3Bytes
| uint8 | uint8 | uint8 | uint8 | uint16 | uint16 | uint16 | uint16 | uint16 | uint16 | uint16 | uint16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | uint24 | uint24 | uint24 | uint24
|  |  | 0 … 100% | - - -
[6 empty] | Frequency | 25/50 Hz | 100Hz | 200Hz
[6 empty] | Samples/Packet | 1 | 2 | 5
| IMU+QUAT PACKET |  |  |  |  | 7Bytes + | 32Bytes | 64Bytes | 160Bytes
| Packet Type | Time stamp | Battery | Reserved | IMU Sensor | [9 empty] | QUAT Values (W, X ,Y, Z)
[5 empty] | ACC_X | ACC_Y | ACC_Z | GYRO_X | GYRO_Y | GYRO_Z | TEMP | MAG_X | MAG_Y | MAG_Z | Q1 | Q2 | Q3 | Q4
|  | LSB-MSB |  |  | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB | LSB-MSB
| 7Bytes |  |  |  | 20Bytes | [9 empty] | 12Bytes
| 1Byte | 4Bytes | 1Byte | 1Byte | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 2Bytes | 3Bytes | 3Bytes | 3Bytes | 3Bytes
| uint8 | uint8 | uint8 | uint8 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | int16 | uint24 | uint24 | uint24 | uint24
|  |  | 0 … 100% | - - -
| PACKET TYPE | [11 empty] | G = 9.807
| 0: RESERVED | [11 empty] | ACC_RANGE = 8.0
| 1: PT_INFO | [11 empty] | RAW_SCALING = 32768.0
| 2: PT_SOLE | [11 empty] | accScale = G / (RAW_SCALLING/ ACC_RANGE)
| 3: PT_SOLE_IMU | [11 empty] | PI = 3.14159
| 4: PT_SOLE_IMU_QUAT |  |  |  | SOLE Hallux | [7 empty] | D2R = PI / 180.0
| 5: PT_SOLE_IMU_QUAT_GPS | [11 empty] | gyroScalle = 1000.0 / RAW_SCALLING * D2R
| 6: PT_SOLE_IMU_GPS |  |  |  | int16 hallux = ( data[i] + data[i+1] << 8) | [7 empty] | magScalle = 4912.0 / RAW_SCALLING
| 7: PT_IMU | [21 empty] | IMU DMP
| 8: PT_IMU_QUAT | [11 empty] | IMU ACC | (m/s^2)
| 12: PT_RESPONSE | [21 empty] | float Q1 = twoComplement( ( data[i] << 16 + data[i+1] << 8 + data[i+2] ) ) / 1000000
float acc_x = (int16)( data[i] + data[i+1] << 8 ) * accScale
[13 empty] | IMU GYRO | (rad/s)
float gyrX = (int16)( data[i] + (data[i+1]<<8) ) * gyroScale;
[13 empty] | IMU MAG | (microTesla)
float magX = (int16)( data[i] + (data[i+1]<<8) ) * magScale;
IMU TEMPERATURE
TEMP_OFFSET = 21
TEMP_SCALE = 333.87
float temp = ( ( (int16)( data[i] << 8 + data[i+1] ) - TEMP_OFFSET ) / TEMP_SCALE ) + TEMP_OFFSET
HOST >>> DEVICE
| SET SR mode + data packet |  |  |  |  | 4Bytes |  |  | SET Rtc DateTime |  |  | 9Bytes | [9 empty] | Start BLE Stream |  |  | 3Bytes |  | Get Device Info |  | 2Bytes | Start Record Trial |  |  | 10Bytes | [6 empty] | Start Calibration |  |  | 3Bytes | Disconnect |  |  | 3Bytes
| Version | TYPES | SAMPLE RATE | PACKET TYPE |  |  |  |  | Version | TYPES | Date & Time | [10 empty] | Version | TYPES | CMD TYPES |  |  | Version | TYPES |  | Version | TYPES | CMD TYPES | Date & Time | [6 empty] | Version | TYPES | CMD TYPES |  | Version | TYPES | CMD TYPES
[11 empty] | Miliseconds / 10 | Seconds | Minutes | Hour | Day | Month | Year | [15 empty] | Miliseconds / 10 | Seconds | Minutes | Hour | Day | Month | Year
| 3 | 1 | [6 empty] | 3 | 2 | [11 empty] | 3 | 0 | 0 |  |  | 3 | 8 |  | 3 | 0 | 3 | [7 empty] | 3 | 0 | 7 |  | 3 | 0 | 5
| 1Byte | 1Byte | 1Byte | 1Byte |  |  |  |  | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte |  |  |  |  | 1Byte | 1Byte | 1Byte |  |  | 1Byte | 1Byte |  | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte |  | 1Byte | 1Byte | 1Byte
| uint8 | uint8 | uint8 | uint8 |  |  |  |  | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 |  |  |  |  | uint8 | uint8 | uint8 |  |  | uint8 | uint8 |  | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 |  | uint8 | uint8 | uint8
| Response SR mode + data packet | [5 empty] | 4Bytes |  | Response Rtc DateTime |  |  |  | 9Bytes | [8 empty] | Stop BLE Stream |  |  | 3Bytes |  | Beep Command |  | 2Bytes | Stop Record Trial |  |  | 3Bytes | [6 empty] | Set Reference |  |  | 3Bytes | Shutdown |  |  | 3Bytes
| PACKET TYPE | TYPES | SAMPLE RATE | PACKET TYPE |  |  |  |  | PACKET TYPE | TYPES | Date & Time | [10 empty] | Version | TYPES | CMD TYPES |  |  | Version | TYPES |  | Version | TYPES | CMD TYPES | [7 empty] | Version | TYPES | CMD TYPES |  | Version | TYPES | CMD TYPES
[11 empty] | Miliseconds / 10 | Seconds | Minutes | Hour | Day | Month | Year
| 12 | 1 | [6 empty] | 12 | 2 | [11 empty] | 3 | 0 | 1 |  |  | 3 | 9 |  | 3 | 0 | 4 | [7 empty] | 3 | 0 | 8 |  | 3 | 0 | 2
| 1Byte | 1Byte | 1Byte | 1Byte |  |  |  |  | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte | 1Byte |  |  |  |  | 1Byte | 1Byte | 1Byte |  |  | 1Byte | 1Byte |  | 1Byte | 1Byte | 1Byte | [7 empty] | 1Byte | 1Byte | 1Byte |  | 1Byte | 1Byte | 1Byte
| uint8 | uint8 | uint8 | uint8 |  |  |  |  | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 | uint8 |  |  |  |  | uint8 | uint8 | uint8 |  |  | uint8 | uint8 |  | uint8 | uint8 | uint8 | [7 empty] | uint8 | uint8 | uint8 |  | uint8 | uint8 | uint8
|  |  | SAMPLE RATE | PACKET TYPE | [6 empty] | NOTES
|  |  | 0: 25Hz | 2: PT_SOLE | [6 empty] | Hour: according to universal time (from 0-23)
|  |  | 1: 50Hz | 3: PT_SOLE_IMU | [6 empty] | Minutes: according to universal time (from 0-59)
|  |  | 2: 100Hz | 4: PT_SOLE_IMU_QUAT | [6 empty] | Seconds: according to universal time (from 0-59)
|  |  | 3: 200Hz | 5: PT_SOLE_IMU_QUAT_GPS | [6 empty] | Milliseconds / 10: according to universal time (from 0-99)
|  |  |  | 6: PT_SOLE_IMU_GPS | [6 empty] | Day of the month: according to universal time (from 1-31)
|  |  |  | 7: PT_IMU | [6 empty] | Month: according to universal time (from 1-12)
|  |  |  | 8: PT_IMU_QUAT | [6 empty] | Year: according to universal time - 2000
Day of the week: according to universal time (from 0-6)
| TYPES |  |  |  |  | CMD TYPES
| 0: CMD Mode |  |  |  |  | 0: Start BLE Stream
| 1: SET Sample Rate + Type Data Packet |  |  |  |  | 1: Stop BLE Stream
| 2: SET Rtc DateTime |  |  |  |  | 2: Shutdown
| 3: SET Pair Data |  |  |  |  | 3: Start Record Trial
| 4: SET Sync |  |  |  |  | 4: Stop Record Trial
| 5: SET IMU Config |  |  |  |  | 5: Disconnect
| 6: SET IMU Calib |  |  |  |  | 6: Swap Foot Side
| 7: SET GPS Data |  |  |  |  | 7: Start Calibration
| 8: GET Info Header |  |  |  |  | 8: Set Reference
9: SEND Beep Command
10: GET Info Conn Watch